## Slide 1: Commanding Better Control: Improving Inpatient Glycemic Safety With Glucommander
Baptist Health Paducah

## Slide 2: Results: Baseline Characteristics
 | Pre-Intervention | Post-Intervention
Total patient encounters (n) | 2,821 | 3,026
Patient deaths from severe hypoglycemia (n) | 8 | 2
Encounters with insulin glargine orders |  | 
Total patient encounters (n) | 364 | 509
Average length of stay (days) | 5.22 | 4.99
Average A1C | 8.5% | 8.2%
Patients without an A1C obtained (%) | 19.44% | 17.36%
Average admission blood glucose | 258 mg/dL | 239 mg/dL
Average discharge blood glucose | 185 mg/dL | 178 mg/dL

## Slide 3: Results: Primary Endpoint
 | Pre-Intervention | Post-Intervention
Difference between admission blood glucose and discharge blood glucose | - 73 mg/dL | - 61 mg/dL
Chart: Comparison of Discharge Blood Glucose
| 40 - 54 | 54 - 70 | 70 - 180 | 180 - 250 | 250 - 300 | > 300 | BG Distribution
Pre-Intervention Discharge Blood Glucose | 0.0027 | 0.0027 | 0.5366 | 0.2873 | 0.1003 | 0.0705
Post-Intervention Discharge Blood Glucose | 0 | 0.0019 | 0.5706 | 0.2998 | 0.0832 | 0.0445

## Slide 4: Results: Secondary Endpoints
Secondary Endpoints | Pre-Intervention | Post-Intervention
Patients on SubQ Glucommander® (n) | 13 | 297
Total patient encounters on SubQ Glucommander® (%) | 0.46% | 9.81%
Notes: 2184% increase of patients

## Slide 5: Results: Secondary Endpoints
Patients managed with SubQ Glucommander® | Pre-Intervention | Post-Intervention
Total patient days (n) | 33 | 1,309
Secondary Endpoints: Hypoglycemia Hypoglycemic: <70 mg/dL Severe hypoglycemic: <40 mg/dL |  | 
Hypoglycemia patient days (n) | 0 | 42
Hypoglycemia patient days (%) | 0.00% | 3.21%
Severe hypoglycemia patient days (n) | 0 | 1
Severe hypoglycemia patient days (%) | 0.00% | 0.08%
Secondary Endpoints: Hyperglycemia Hyperglycemic: >180 mg/dL Severe hyperglycemic: >300 mg/dL |  | 
Hyperglycemia patient days (n) | 14 | 828
Hyperglycemia patient days (%) | 42.42% | 63.25%
Severe hyperglycemia patient days (n) | 3 | 101
Severe hyperglycemia patient days (%) | 9.09% | 13.83%

## Slide 6: Results: Secondary Endpoints
Patients hospital-wide | Pre-Intervention | Post-Intervention
Secondary Endpoints: Hypoglycemia Hypoglycemic: <70 mg/dL Severe hypoglycemic: <40 mg/dL |  | 
Patient encounters with hypoglycemia (n) | 229 | 255
Patient encounters with hypoglycemia (%) | 8.12% | 8.43%
Number of hypoglycemic events (n) | 554 | 731
Patient encounters with severe hypoglycemia (n) | 22 | 25
Patient encounters with severe hypoglycemia (%) | 0.78% | 0.83%
Number of severe hypoglycemic events (n) | 46 | 40
Secondary Endpoints: Hyperglycemia Hyperglycemic: >180 mg/dL Severe hyperglycemic: >300 mg/dL |  | 
Patient encounters with hyperglycemia (n) | 1,028 | 1,122
Patient encounters with hyperglycemia (%) | 36.44% | 37.08%
Number of hyperglycemic events (n) | 7,885 | 7,980
Patient encounters with severe hyperglycemia (n) | 280 | 273
Patient encounters with severe hyperglycemia (%) | 9.93% | 9.02%
Number of severe hyperglycemic events (n) | 1,082 | 1,134

## Slide 7: Glucommander Utilization (%)
Chart: 
| Pre | Post
Glucommander Utilization (%) | 0.46 | 9.81

## Slide 8: Discharge Blood Glucose (mg/dL)
Chart: 
| Pre | Post
Discharge Blood Glucose (mg/dL) | 185 | 178

## Slide 9: Patients Without A1C (%)
Chart: 
| Pre | Post
Patients Without A1C (%) | 19.44 | 17.36

## Slide 10: Severe Hypoglycemia Events (count)
Chart: 
| Pre | Post
Severe Hypoglycemia Events (count) | 46 | 40

## Slide 11: Severe Hyperglycemia (%)
Chart: 
| Pre | Post
Severe Hyperglycemia (%) | 9.93 | 9.02

## Slide 12: Severe Hypoglycemia by Therapy
Chart: 
| Glucommander | Not on Glucommander
Events | 0 | 40